## Slide 1: Siemens openlab Major Review
13 Feb 2014

## Slide 2: Organization
Siemens/ETM
Supervisor
CERN
Supervisor
openlab
Researcher
Database
Archiver
Kacper Szkudlarek
Deployment Tool
Pavel Fiala
Ewald Sperrer
Piotr Golonka
Ewald Sperrer
Fernando Varela
Control System Security
Filippo Tilaro
Brice Copy
Christoph Fischer,
Bernhard Petri
Data Analytics
Filippo Tilaro
Axel Voitier
M. Roshchin
M. Kalinkin
Management
Siemens - Thomas Hahn
ETM - Guenther Zoffmann
CERN - Manuel Gonzalez

## Slide 3: Typical Control System Architecture
Fieldbus
TN
PLCs
Sensors
&
Actuators
MOON
(Monitoring)
High Voltage
DIM/CMW
OPC
Field layer
Process layer
Supervision layer
Data Analytics
SECURITY
SCADA
WinCC OA

## Slide 4: Siemens openlab Major Review
Author: Filippo Tilaro
Supervised by: Brice Copy
13 Feb 2014
Control System Security

## Slide 5: Security project
Main goal:
  Improve the Siemens Process Control Systems (PCS) security level
Strategy:
  Design of a test-bench to evaluate the PCSs network robustness
  Determine key cyber security aspects relevant to CERN in accordance with recent cyber security standards

## Slide 6: Security & Smart Grid
More efficient than electromechanical power grids
Integration of diverse energy resources and devices
Make use of:
  digitalized information
  communication technology
Any vulnerability can affect the entire electrical system!

## Slide 7: Security & Smart Grid
Design
Phase
Analysis of the IEC-61850 protocols (SV, GOOSE, services over MMS) specifications: parts 8-2, 8-1, 5.
Implementation
Phase
Peach Fuzzing Extension
XML Protocol Test files definition through grammar rules
Execution
Phase
Traffic injection against the IED (Intelligent Electronic Device) under test

## Slide 8: Conclusions
Achievements:
  ISA Secure Committee Institute(ISCI) – Certification Robustness Test(CRT) extension for IEC-61850 standards communication protocols specifications
  Test-bench Release:
    Setup and installation into Siemens Headquarter
    Support for test execution and new test definitions
  Publication and presentation of the topics in ICALEPCS 2013
Possible future activities:
  SCADA System Testing
    WinCC OA internal communication protocol
    OPC UA
  Further communication protocols analysis
  Industrial Intrusion Detection System

## Slide 9: Siemens openlab Major Review
Author: Filippo Tilaro
Supervised by: Axel Voitier
13 Feb 2014
Data Analytics

## Slide 10: Data Analytics project
Main goal:
  Build a computing system able to improve the functionality, the efficiency, and the predictability of any control process
Strategy:
  Use and extend the Siemens analysis tools to extract possible patterns and discover new insights hidden in the control data itself
  Take advantage of the huge amounts of control data produced by CERN facilities

## Slide 11: Overview of the activities
Off-line analysis
  GAS alarms breakdown
  Control System Health
  Statistical Analysis of Alarms
On-line analysis
  Integration of CERN ICS with ELVis
  A scalable and customizable analysis framework

## Slide 12: OFF-LINE analysis activities

## Slide 13: Gas System
28 Applications
(Sub Detector)
7 Apps
1 Data Server
9 Apps
1 Data Server
6 Apps
1 Data Server
6 Apps
1 Data Server
Multi-wire chamber

## Slide 14
Gas System Analysis
Events List
Extraction
Simulation of Physical Control System:
Complex System: more than 9000 equations to model all the system
Validated against the real system
Includes fault model!
Complex Diagnostic:
Alarm flooding, “domino effect”
A single fault can stop the whole process
The 1st alarm is not necessarily the most relevant for the diagnosis
The alarm list depends on the system status
a knowledge-based model is not sufficient!
XML Conversion
Siemens
WatchCAT
Pattern Extraction:
Complex Event Processing
Fault Signature
Sequence Alignment

## Slide 15: Example: Distribution Fault
Bubbler (safety device broken) line 2:
  Initial impact on the Pump module, then on the Distribution
  The Distribution seems to not have alarms yet
  The Entire Control Process collapses
Explosion of events combinations
WatchCAT
Under development
Several versions evaluated

## Slide 16
Offline Control System Health
Application | WinCC OA Systems | Parameters (Million dpes)
ALICE | 100 | 3
ATLAS | 130 | 12
CMS | 90 | 10
LHCb | 160 | 10
Accelerator Complex | 120 | 10
System architecture under analysis:
  16 Control Applications
    QPS, nQPS, CRYO, CIET, CIS, PIC, WIC, LHC-CIRCUIT, PSEN …
  Linux control PCs : ~120
  PLCs: ~300
  FECs: ~100
Goal: control system faults/anomalies detection and diagnosis

## Slide 17
Offline Control System Health Analysis
Lemon
UNICOS
CMW FECs
LOGs
MOON
Long term storage
Diagnostic data, alarms, devices status
Performances metrics
Exceptions
Status information
WinCC OA logs
Sys logs
Unified Control System Alarms
FECs logs (from Splunk)
Pre-Data Analysis
I
Data Extraction
II
XML-Conversion
III
Data Cleaning / Completion
Repository:
Temporary on DFS
Common place for data analysis
Fetching data at different rates
WatchCAT
Other…
Shared Access

## Slide 18
Issues:
  Huge amount of data [~130GB + LHC]
  Different data types:
    Structured/Not Structured
    Numerical / Boolean / Plain-text
    Gaps, missing some metadata
  Unsynchronized data sources
  Different relationships among the subsystems
  …
Consequences:
  no single framework out of the box to analyse numerical data and not (next version of WatchCAT)
  Necessary a combination of tools for a complete data analysis (log processing, statistical analysis, pattern recognition…)
  Split this use-case into smaller ones:
    signal analysis use-case (next version of WatchCAT will provide predictive trending capabilities)
    semi-automatic extraction of statistical metrics and thresholds:
      threshold learning for alarms analysis
Offline Control System Health: Status

## Slide 19
Threshold Learning for Alarms Analysis Flow
Alarms List
Filtering & Aggregation
POJOs
Extraction
Conversion
Injection
Reporting
MOON
CEP engine
Open-source rules engine
declarative paradigm
Feedback

## Slide 20: ON-LINE analysis activities

## Slide 21: Our vision of the analysis framework
Fieldbus
TN
PLCs
Sensors
&
Actuators
MOON
(Monitoring)
High Voltage
DIM/CMW
OPC
Field layer
Process layer
Supervision layer
Data Analysis Framework
Data collection & feedback
FFT
Machine
Learning
Neural Network
CEP
Patterns
(R)
(LabView)
(Java)
(WatchCAT)
Data Processing Modules
Scalable and fault-tolerant !!!
Expert
Visualisation
Chart: 
| Category 1 | Category 2 | Category 3 | Category 4
Series 1 | 4.3 | 2.5 | 3.5 | 4.5
Series 2 | 2.4 | 4.4 | 1.8 | 2.8
Series 3 | 2 | 2 | 3 | 5
Chart: 
| 37261 | 37262 | 37263 | 37264 | 37265
Series 1 | 32 | 32 | 28 | 12 | 15
Series 2 | 12 | 12 | 12 | 21 | 28
Analysis memory and configuration
Historical
Data
Notes: Integration of analysis tools with our industrial control systems:
  Pushing our data to analysis tools
  Getting the analysis feedback within our software

## Slide 22: Introducing ELVis from Siemens
Status:
  Under development
  Running on CERN Openstack VMs
Configurable analysis flow by user
  + It can use custom analysis software
High scalability of analysis processes
  From laptop to multi-node cluster
Stream based data processing engine: Storm
NoSQL data storage engine
Web-based visualisation interface
  HTML5, Data pushed by Web-Sockets
  Desktop and mobile devices

## Slide 23: ELVis integration with CERN control system
On-line
Analysis
Visualisation of ELVis processed data in WinCC OA
“WinCC OA as data-source, visualisation with ELVis and/or WinCC OA”
Control Process Data Flow
CERN WinCC OA Installation
OPC
Adapter
ELVis
Processing
Engine
Analysis flow
web-based
configuration
Web-based ELVis visualisation

## Slide 24: Conclusions
Activities
  Various kinds of analysis to perform
We need a flexible analysis environment
  Integrated with our monitoring and control environments
Current focus
  Alarms/Signals threshold learning with Drools Fusion
  ELVis integration with CERN control system and assessment
  WatchCAT evolution for complex event processing
    Predictive trending based on time-series process data
    Base line analysis: rule model, analytical data relationships, temporal reasoning

## Slide 25: Siemens openlab Major Review
Author: Kacper Szkudlarek
Supervised by: Piotr Golonka
13 Feb 2014
IOWA based SCADA Logging Service

## Slide 26: IOWA based SCADA and Logging Service
Upcoming SCADA system from
  New storage and component architecture.
  New design of Archiver (Logging Service).
Archiver subsytem:
  Important element of SCADA system: store/retrieve historical data,
  Essential component in Data Analytics.
up to 3M signals
up to TB/day
Data Analytics
Archiver
WinCC OA
up to 150 instances
Other sources
LHC

## Slide 27: Archiving in WinCC OA
Version 3.11:
  File archiver.
  Oracle RDB Archiver*.
IOWA base version:
  Component based, DB backend plugins.
  Oracle plugin*
    desgined for:
      Large systems,
      Scalability,
      High-throughput.
  Other relational database plugins developed by Siemens/ETM.
  Research: NoSQL systems*.
UI
User interface
Editor
UI
User interface
Runtime
UI
User interface
Runtime
D
Driver
D
Driver
D
Driver
CTRL
Control manager
API
API manager
DM
Data manager
EV
Event manager
DIST
Other systems connection
ARC
Archive manager
  * Siemens/ETM openlab activities.

## Slide 28: Status report
Achieved in IOWA based version:
  Working plugin in a complete project.
Chart: Thousands of inserts per sec
v4.0 Oracle dpSet() + delay() with arrays | 15687.6429
v3.11SP1 dpSet() + delay() with arrays | 19820.1471
v4.0 Oracle dpSet() + delay() with single elements | 12610.8667
v3.11SP1 dpSet() + delay() with single elements | 19344.6291
  Initial performance tests (data write throughput):
    performance comparable to Oracle Archiver in WinCC OA 3.11.
    results reported to Siemens/ETM.
IOWA based SCADA : first time @ CERN
CTRL
Control manager
DM
Data manager
EV
Event manager
LS
Logging
service
Oracle
Plugin

## Slide 29: Current activities & outlook
IOWA based version:
  Redesing of the database structure (data segmentation/organisation).
  ...
Version 3.11:
  To address CERN needs:
    Performance optimization for high data-throughput setup:
      The use case of QPS upgrade.

## Slide 30: Upgrade of QPS: LHC Quench Protection System
High archive throughput requirement
  150k changes/s
  100k tags
Criticial data for LHC safety.
Reduce storage space used by a single value-change record.
  Data size: 60+40(idx)B 60B 30B.
  Data throughput (in progress)
  cannot be reduced 24/24, 7/7
IOT
Backup
LHC Logging
(long-term
storage)
RDB Archive
Projects
Around LHC

## Slide 31: Siemens openlab Major Review
Author: Pavel Fiala
Supervised by: Fernando Varela
13 Feb 2014
IOWA based SCADA Centralized Deployment Tool

## Slide 32: Centralized Deployment Tool (CDT)
Large controls applications at CERN comprise >150 interconnected WinCC OA systems
The CDT will allow pushing upgrades onto sets of WinCC OA applications in a centralized fashion
ASCII Manager is a key component of the CDT
              Imports/exports of the runtime DB of a project from/to files
              Configures communication with the hardware equipment
UI
User interface
Editor
UI
User interface
Runtime
UI
User interface
Runtime
D
Driver
D
Driver
D
Driver
CTRL
Control manager
API
API manager
DM
Data manager
EV
Event manager
ASCII
manager
DIST
Other systems connection

## Slide 33: Why a new ASCII Manager?
IOWA based SCADA is a new product
  New internal run-time database
  Layered architecture design: two data models exposed at different layers
    New ASCII manager must be aware of the mapping between data models
New file format
  XML based format for export/import files

## Slide 34: Ongoing work
Data models comparison
  Differences identified
Some functionality currently used at CERN is not foreseen in IOWA based version
  Big impact on existing frameworks and applications
  CERN to identify importance and prioritize development if functionality needed
List of change requests to underlying framework for next development phase
Learning workspace
  New functionality, still under heavy development
  Working version of documentation received including training tutorial
XML parser
  Benchmark
  Integration in workspace

## Slide 35: XML parser benchmark
Large projects consist of up to several million DP elements
  Huge runtime database
  XML files several hundreds MBs big
ASCII Manager may run on mobile devices
Memory consumption is more critical than parsing time

## Slide 36: XML parser benchmark
Xerces-C++ & Qt 4.8
  DOM
  SAX
XSD – XML to C++ binding
  cxx-tree
  cxx-tree with streaming

## Slide 37: Next tasks
Software architecture design
Prototyping
  Learn how to interact with data sources
  Basic import/export functionality
  Hosting different OA services
    Common Name Service
    Localization Service
    …
Transition from requirement gathering and definition of functionality phases to design and implementation phase