## Slide 1: Smart Technologies for Large Control Systems
10th June 2015
CERN Open Day
Elisabeth Bakany, Siemens-ETM
Filippo Tilaro, CERN
Notes: Siemens: intro

## Slide 2: Siemens - Smart Data to Business
  Customer Advantage
  Better Performance
  Lower Costs
  Saving Energy
  Reduce Risks
  New Business Models
Data from Products, Systems, Sensors, Processes ...
Data
Business Innovation
Value Generation
Data analytics
Business Intelligence
…
Domain know-how
Device know-how
Smart
Data
Analytics know-how
''Smart data to business''
Power Plants
Factories
Power Grids
Hospitals

## Slide 3: WinCC Open Architecture (OA)
Supervisory layer
Control layer
SCADA / DCS
layer
PPS / MES layer
Business systems
Flexible concept for special needs to integrate other applications
PCS 7
3rd Party DCS
WinCC
3rd Party SCADA
PLC
RTU
S7
S7
RTU
AS
AS
PLC
S7
PLC
PLC
RTU
S7
WinCC OA
WinCC OA
RTU
  Perfect for large scale applications
  for big and/or complex systems
  for geographically wide distributed plants
  freely scalable and expandable
  for supervisory layer
  supports redundancy
  for the highest security requirements
  the only SCADA system with SIL 3-certification
  Supports > 10,000,000 data points
Notes:   Supervisory control systems for:
  Water plant networks
  Oil & Gas pipelines and production
  Energy supplies
  Undergrounds
  Traffic management
  Building automation
  Passenger information systems

## Slide 4: WinCC OA Manager Concept
user interface layer
processing layer
driver layer
Ctrl
API
EV
D
D
D
UIM
UIM
UIM
DM
communication and
memory layer

## Slide 5: WinCC OA as Distributed System
System 3
System 1
UI
Ctrl
DM
EV
T
Dist
System 2
UI
Ctrl
DM
EV
T
Dist
Ctrl
DM
EV
T
Dist
Redu
Ctrl
DM
EV
T
Dist
Redu
UI
System- or machine boundaries
Network- connections
Logical links

## Slide 6: WinCC OA Redundancy
System‘
System
Peripherals
Remote
UI
UI
Ctrl
DM
EV
D
Redu
Ctrl‘
DM‘
EV‘
D‘
Redu‘

## Slide 7: WinCC OA – flexible and open
  Fast adaptation of control and visualization of the plant to suit current market requirements
  Implement new processes quickly and easily also by in-house programming and developments enabling independence and know-how protection
  Standardized solutions enable continuous use
  SCADA Platform for OEMs
  Brand labeling is supported
  Platform independent (Windows, Linux, Solaris)
  Object orientation
  Open achitecture
  Platform in use in many industrial sectors
  Easy Integration with other SW
  Fast development time
Notes: Used in many industrial sectors:
  Water plant networks
  Oil & Gas pipelines and production
  Energy supplies
  Undergrounds
  Traffic management
  Building automation
  Passenger information systems

## Slide 8: WinCC OA within Siemens
PG
Power and Gas
WP
Wind Power &Renewables
EM
Energy management
BT
Building technologies
MO
Mobility
DF
Digital factory
PD Process Industries and Drives
HC
Healthcare
PG
Power Generation Services
SG
CPS
CS
MD
IM
PA
OM
LD
UT
MLT
TPE
MM
EA
MS
HP
LP
TR
TS
IE
ES
CP
SU
DG
GT
WP
CS
CP
EC
PL
FA
MC
BT
CP
DX
CX
AU
17 products based on OA

## Slide 9: A bit of history…
Long successful collaboration
  For more than 20 Years
  More than 600 Simatic control systems installed
  Partnership, Much more than a client-provider relationship
Large deployment of Siemens systems
  Supervision systems (WinCC OA, WinCC)
  Programmable Logic Controllers (PLC)
  Control modules
  Panels, …
Joined openlab in 2009
  Phase III (2009-12): Security, Large scale deployment
  Phase IV (2012-15): High performance archiving, Data Analysis
  Next phase V (2015-18): Data Analytics, WinCC OA enhancements
Application | Systems installed
ALICE | ~100
ATLAS | ~130
CMS | ~90
LHCb | ~160
Accelerators | ~200
Total | >600
Notes: CERN
-Collaboration with Siemens is long term and in many areas
-Large base of systems installed at CERN. They produce large amounts of data  suited for the data analysis framework.

## Slide 10: Typical Control System Architecture
OPC
Fieldbus
TN
PLCs
Sensors
&
Actuators
MOON
(Monitoring)
High Voltage
DIM/CMW
Field layer
Process layer
Supervision layer
Data Analytics
WinCC OA:
Deployment
tool
RDB Archiver
Front-end
PC
Improve functionality, efficiency, and predictability of CERN control systems
Support operators to take decisions, enhance the online monitoring systems
Manage multiple SCADA applications in a centralized way
Improve WinCC OA archiving capabilities
Notes: 3 activities for the same project

## Slide 11: Siemens’ Smart Data Technologies @ CERN
Code name “ELVis”
  Cloud-based BIG Data Analytics for Time Series Sensor Data
  Real-Time Stream Processing at customizable KHz-Rates
  High Performance Online Visualization in Rich Web-based UI
  Intelligence for Sensor Data Validation
  Job-based Offline Data Analysis
Code name “WatchCAT”
  Data Fusion of events & sensors
  Complex Event Processing
  Automated Learning of fault patterns
  Logical Reasoning for Fault Detection & Isolation
  Fault prediction based on recognizable patterns

## Slide 12
Siemens’ Smart Data Technologies: Control System Analysis
Identify and detect fault / abnormal pattern for Diagnosis and Prognostics based on domain knowledge
Analyze
Provide experts with Root-cause and Gap Analysis using Rules and Patterns Mining
Learn
Forecasts, Trends and Early-Warnings to increase Operating Hours
X T C D F A A E D N D B K D F A A B K D
АА B A A B
Alarm
Pattern
Diagnose
Control Systems
Data
~200 systems
~300PLCs
~100 FECs
~5*107 I/Os
Notes: Siemens removing

## Slide 13: Understanding the GAS system behaviour with Smart Data: Identifying a root-cause
Objective: Support the operator during diagnostic activities shortening the analysis time and avoiding or shorting the downtimes
  1st Phase: learning system behaviour by extracting fault signatures
  2nd Phase: automatic fault classification by comparing the current events and alarm with the previously extracted signatures
Event lists generated
by the same fault
Extracted fault signatures
Notes: Siemens

## Slide 14: Data Analytics use-cases: few examples, but many more!
Title | Description | Analysis Results
On-line analysis of control alarms | Alarms analysis to detect anomalies or abnormal behaviours at the single device level | 
Fault sensor measurements detection for the cryogenic system | Design and implementation of algorithm to detect faults in sensors measurements | 
Cryogenic valves oscillation | Optimize the regulation of control valves by spotting oscillator behaviours | 

## Slide 15: Centralized Deployment Tool (CDT)
ASCII Manager is a key component of the CDT
                Projects DB imports/exports from/to files
                Hardware equipment configuration
Large control applications @CERN:
  +150 interconnected WinCC OA systems
Upgrade sets of WinCC OA applications in a centralized fashion
Goal
                Introduce XML based file format for export/import
                XML is easier to validate and integrate with external tools than current ASCII files
Ctrl
API
EV
D
UIM
DM
DIST
UIM
UIM
D
D
ASCII
Manger

## Slide 16: ASCII Manager
WinCC OA 3.X
  XML schema defined
  First implementation of XML export functionality
  Code and schema currently under review at ETM
IOWA-based SCADA system
  Completely new platform (including data model)
  New way to interact with the runtime
  CERN involvement since an early stage
  Influence the requirements and technology selection
  Pioneering the usage of the new SDK
  Valuable feedback sent to ETM on SDK and tutorials
  Prototype available

## Slide 17: RDB Archiver for WinCC OA 3.11 Performance, robustness and stability
Successful collaboration
  Improvements implemented and tested at CERN
  Code transferred to ETM
  New functionality made available to all ETM customers
Success story: migration to Oracle Archiver
  200 LHC-related applications
  Required to run the LHC at 13 TeV (QPS)
  200 000 values/s steady state, 106 values/s in peak
Essential also for CERN experiments
  Oracle archiver used since 2007
Unified archiving technology CERN-wide
  ~500 CERN production systems and ~10 databases
  Deployed on time for the LHC Run II
LHC Logging
RDB
Notes: Before value archiver (file based with low performances when compared to DB)
Overflow RDB Manger buffer
1DB per project?
Data schema reduction
Bug fixing in WinCC OA core code
Direct access to the DB by shared lib

## Slide 18: More on Data Processing
R&D: Big data and NoSQL
Research on technology for future archiving system
  Prepare future run of LHC: throughput/size increase by a 10x factor
Hadoop
  Workshop to transfer knowledge to ETM
Initial investigation of other technologies
  Elasticsearch, IMPALA
Synergy with Data Analytics
  Archiving subsystem is essential
Reporting Manager
Significant performance improvements
  parallel request processing
  redesign of architecture for Oracle queries
Already available in WinCC OA 3.13
Notes: Simple SOAP based interface for external tools

## Slide 19
Increased System Reliability
  Minimized forced outages
Complete data analysis
  Reduced service effort: weeks  hours
24/7 Expert Knowledge Availability
  One central knowledge base
Operation support
Forecast system status and take proper actions in time
Prevent possible faults and system downtime
Identify hidden patterns
Diagnosis support
Identify root causes
More accurate analysis
Accelerate analysis From weeks to hours
Engineering support
Improve operational performance
Increase reliability and efficiency by design
Lead control system decisions
CERN & Siemens collaboration:
Benefits for CERN
Notes: Siemens: top part
CERN: bottom part

## Slide 20
WinCC OA
  Continue the work on the open fronts: RDB and CDT
  Broaden the spectrum of activities to other areas like:
    Visualization: Web, widgets enhancements
    Secure Remote Access
    Alarms: Screen and alarm hierarchies
    Enhanced Reporting / Data Analytics integration
    Prototype of NoSQL-based archiver system
    Development tools
Data Analytics
  Innovative Siemens’ Smart Data technologies suited for the analysis of many CERN control systems
  Integration of CERN specific extensions & data analysis algorithms
CERN & Siemens collaboration :
Next Steps
Q3/2015
Q1/2016
Q2/2016
Q1/2017
2018
Control Systems Integration
Online analysis
Further Performance & Scalability
Large scale deployment & further extensions
Notes: Status from CERN
Next steps from Siemens

## Slide 21
Any Questions
Thank you for your attention!